# Principal Contractor Duties Checklist

Construction (Design and Management) Regulations 2015

A practical checklist for reviewing the Principal Contractor’s key duties during the construction phase.

| PROJECT Enter the project name |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PROJECT / PROGRAMME Wider programme, where relevant |  | SITE / LOCATION Enter site address or location |  | CLIENT Enter client name or organisation |  |
| PRINCIPAL CONTRACTOR ORGANISATION Enter organisation |  | PRINCIPAL CONTRACTOR LEAD / REPRESENTATIVE Name and role |  | PRINCIPAL DESIGNER Enter organisation |  |
| CHECKLIST COMPLETED / REVIEWED BY Name |  |  | ROLE / ORGANISATION Role and organisation |  |  |
| APPOINTMENT CONFIRMED IN WRITING? ☐ Yes ☐ No ☐ To confirm |  |  |  |  |  |

| PROJECT REFERENCE Enter reference | REVISION Enter revision | DATE DD/MM/YYYY | PLANNED CONSTRUCTION START DD/MM/YYYY |
| --- | --- | --- | --- |

ABOUT THIS CHECKLIST • DELETE BEFORE ISSUE

CDM 2015 requires the Principal Contractor to plan, manage and monitor the construction phase and coordinate health and safety matters so that, so far as is reasonably practicable, construction work is carried out without risks to health or safety.

This checklist brings together the Principal Contractor’s core duties under Regulations 12 to 14 and relevant general duties. It is intended as a practical review aid rather than a statutory form.

Completing the checklist does not by itself demonstrate compliance. The Principal Contractor’s arrangements should be proportionate to the project, its complexity and the risks involved.

The checklist does not replace the Construction Phase Plan, RAMS, risk assessments, site induction, contractor arrangements, permits or other project records.

Where the Principal Contractor also carries out construction work or directly controls workers, the relevant contractor duties under Regulation 15 also apply.

Prompts clear when you type. Guidance boxes may be deleted before issue.

Sources: CDM 2015 Regulations 5, 7, 8 and 12 to 15; HSE L153 Managing health and safety in construction; HSE Principal contractors: roles and responsibilities.

# Project and role set-up

Record the basic facts that decide whether this checklist applies. Answer the applicability question first.

| More than one contractor involved or reasonably foreseeable? | ☐ Yes ☐ No ☐ To confirm |
| --- | --- |

If No: Where only one contractor is involved, the Principal Contractor appointment requirement in Regulation 5 does not apply solely because of contractor count. The contractor still has its own duties under CDM 2015, including preparation of the Construction Phase Plan.

This checklist is for the Principal Contractor role on multi-contractor projects. If the answer is No, record that here and do not complete the remaining sections as though a Principal Contractor had been appointed.

| Project description | Briefly describe the construction work |  |  |
| --- | --- | --- | --- |
| Client | Client name or organisation |  |  |
| Principal Contractor | Organisation appointed as Principal Contractor |  |  |
| Principal Designer | Organisation appointed as Principal Designer |  |  |
| Number / expected number of contractors | Number, or a description |  |  |
| Principal Contractor appointment date | DD/MM/YYYY | Construction phase start | DD/MM/YYYY |
| Principal Contractor appointment reference | Written appointment reference and date |  |  |
| Expected duration | Weeks or working days | Key Principal Contractor contact | Name and role |
| Client contact | Name and role | Principal Designer contact | Name and role |
| Domestic client? | ☐ Yes ☐ No ☐ To confirm |  |  |
| If domestic: client duties carried out by | Usually the Principal Contractor; see the note below |  |  |

Domestic clients: Where the project is for a domestic client, the Principal Contractor will normally also carry out the client duties in Regulations 4(1) to (7) and 6, as required by Regulation 7(1)(b), unless there is a written agreement for the Principal Designer to fulfil them (Regulation 7(1)(c)). If a domestic client does not appoint a Principal Contractor, the contractor in control of the construction phase is the Principal Contractor (Regulation 7(2)(b)). Use the separate Aptoris CDM Client Duties Checklist where the Principal Contractor is also carrying out the client duties; this checklist does not cover them.

# 1. Construction Phase Plan

Regulation 12(1) to (4). The plan itself belongs in the Construction Phase Plan, not in this checklist.

| Requirement / check | What to confirm | Done | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| Prepared before site set-up: The Principal Contractor has drawn up, or arranged for the Construction Phase Plan to be drawn up, during the pre-construction phase and before setting up the construction site. | Regulation 12(1). Record the plan reference and the date it was first issued. | ☐ | ☐ | Reference, owner or action |
| Project-specific arrangements: The plan sets out the project’s health and safety arrangements and site rules. | Regulation 12(2). Written for this project and site, taking account of any industrial activities on the site where necessary. | ☐ | ☐ | Reference, owner or action |
| Schedule 3 work: Specific measures are included where work falls within one or more relevant Schedule 3 categories. | Check the planned work against Schedule 3 (work involving particular risks). Mark N/A only if no category applies. | ☐ | ☐ | Reference, owner or action |
| Relevant information used: Relevant Pre-Construction Information and design information supplied by the Principal Designer have been considered. | Regulation 12(3) requires the Principal Designer to provide the information it holds that is relevant to the plan. | ☐ | ☐ | Reference, owner or action |
| Implemented: The arrangements in the plan are being implemented during the construction phase. | For example, through the site management and monitoring arrangements in Section 2. | ☐ Reviewed / current | ☐ | Reference, owner or action |
| Reviewed, updated and revised: The Construction Phase Plan is reviewed, updated and revised as necessary so that it remains sufficient for the project as work develops. | Regulation 12(4). Record the current revision and what prompted the last update. | ☐ Reviewed / current | ☐ | Reference, owner or action |

| Construction Phase Plan reference | Document reference, revision and date |
| --- | --- |

The Aptoris Construction Phase Plan Template can be used to prepare the plan; this checklist only records that it is in place and current.

# 2. Plan, manage, monitor and coordinate the construction phase

Regulation 13(1) and (2). These duties are ongoing: tick when the arrangement is reviewed and current.

| Requirement / check | What to confirm | Reviewed / current | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| Planning: Construction-phase activities and interfaces have been planned so health and safety risks can be controlled. | Programme, sequencing and site set-up take account of the risks identified. | ☐ | ☐ | Reference, owner or action |
| Management: Suitable arrangements are in place to manage the construction phase. | Site management, responsibilities and supervision proportionate to the work. | ☐ | ☐ | Reference, owner or action |
| Monitoring: Arrangements exist to monitor whether the agreed health and safety arrangements are working in practice. | The method and frequency are for the project to set, proportionate to its size, complexity and risks. | ☐ | ☐ | Reference, owner or action |
| Coordination: Health and safety matters are coordinated across contractors and work activities. | Section 3 covers cooperation between contractors. | ☐ | ☐ | Reference, owner or action |
| Work sequencing: Relevant design, technical and organisational decisions consider work taking place simultaneously or in sequence. | Regulation 13(2)(a), taking account of the general principles of prevention. | ☐ | ☐ | Reference, owner or action |
| Time: The time needed for work and work stages has been considered when planning the construction phase. | Regulation 13(2)(b). Realistic durations for each stage of work. | ☐ | ☐ | Reference, owner or action |
| General principles of prevention: The general principles of prevention are applied when planning and managing the work. | See the panel below this table. | ☐ | ☐ | Reference, owner or action |
| People affected: Planning considers workers and other people who may be affected, including the public or occupants where relevant. | For example, neighbours, building occupants, visitors and passers-by. | ☐ | ☐ | Reference, owner or action |

General principles of prevention: The Principal Contractor must take these into account in fulfilling its duties, particularly when design, technical and organisational aspects are decided to plan work that will take place at the same time or in succession, and when estimating the time needed to complete the work or work stages (Regulation 13(2)). They are set out in Schedule 1 to the Management of Health and Safety at Work Regulations 1999. In summary: avoid risks; evaluate risks that cannot be avoided; combat risks at source; adapt the work to the individual; adapt to technical progress; replace the dangerous with the non-dangerous or less dangerous; develop a coherent overall prevention policy; give collective protective measures priority over individual ones; and give appropriate instructions to employees.

CDM 2015 does not prescribe a frequency for inspections, audits or meetings. Arrangements should be proportionate to the size, complexity and risks of the project.

# 3. Contractor cooperation and coordination

Regulation 13(3). These duties are ongoing: tick when the arrangement is reviewed and current.

| Requirement / check | What to confirm | Reviewed / current | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| Cooperation: Arrangements organise cooperation between contractors, including successive contractors. | Regulation 13(3)(a). Including contractors who follow one another on the same site. | ☐ | ☐ | Reference, owner or action |
| Interfaces: Interfaces between contractors and overlapping activities are identified and coordinated. | For example, shared work areas, access routes, plant or services. | ☐ | ☐ | Reference, owner or action |
| Applicable legal requirements: Arrangements coordinate implementation by contractors of the health and safety requirements that apply to their work. | Regulation 13(3)(b). Relevant contractor arrangements and controls have been reviewed or coordinated as necessary for the project. | ☐ | ☐ | Reference, owner or action |
| General principles: Employers and, where necessary for the protection of workers, self-employed persons apply the general principles of prevention consistently. | Regulation 13(3)(c)(i), in particular when complying with Part 4 of CDM 2015. | ☐ | ☐ | Reference, owner or action |
| Construction Phase Plan: Contractors are given relevant information from the Construction Phase Plan and follow the parts that apply to their work where required. | Regulations 13(3)(c)(ii) and 15(3). | ☐ | ☐ | Reference, owner or action |
| Changes and emerging interfaces: Relevant changes, new contractors or changes in sequencing are incorporated into coordination arrangements. | Record how changes reach everyone affected. | ☐ | ☐ | Reference, owner or action |

| Contractor coordination arrangements reference | For example, meeting records or an interface register |
| --- | --- |

CDM 2015 does not require the Principal Contractor to formally approve or sign every RAMS, method statement or risk assessment. Any document review process is a project arrangement chosen to support coordination.

# 4. Appointments and capability

Regulation 8(3). Complete this section where the Principal Contractor itself appoints a contractor or designer. Checks should be proportionate to the work and its risks. Tick when the arrangement is reviewed and current.

| Requirement / check | What to confirm | Reviewed / current | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| Skills, knowledge and experience: Relevant skills, knowledge and experience have been considered. | For example, experience of similar work and of managing its risks. | ☐ | ☐ | Reference, owner or action |
| Organisational capability: Organisational capability has been considered where an organisation is being appointed. | The policies, systems, resources and people needed to carry out the work safely. | ☐ | ☐ | Reference, owner or action |
| Scope of appointment: The scope of each appointment is understood by the Principal Contractor and the appointee. | For example, set out in the order or subcontract. | ☐ | ☐ | Reference, owner or action |
| Time and resources: The time and resources available to the appointee have been considered. | Including enough time to plan and carry out the work. | ☐ | ☐ | Reference, owner or action |
| Reasonable basis recorded: Reasonable steps have been taken to satisfy the Principal Contractor that contractors or designers it appoints have the necessary capability for the work. | Record the basis proportionately. CDM 2015 does not require any particular scheme, certificate or scoring method. | ☐ | ☐ | Reference, owner or action |

Workers employed or appointed by the Principal Contractor: Where the Principal Contractor employs or appoints individuals to carry out construction work, Regulation 15 also requires those workers to have, or be in the process of obtaining, the necessary skills, knowledge, training and experience for the tasks allocated to them.

The Principal Contractor itself must have the skills, knowledge, experience and organisational capability needed for the role, and must not accept the appointment unless it does (Regulation 8(1) and (2)).

# 5. Liaison and information

Regulations 8(4), 8(6) and 13(5). Tick when the arrangement is reviewed and current.

| Requirement / check | What to confirm | Reviewed / current | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| Client liaison: The Principal Contractor has suitable arrangements for ongoing liaison with the client on relevant construction-phase health and safety matters. | HSE guidance on the Principal Contractor role, supported by the duty to cooperate in Regulation 8(4). | ☐ | ☐ | Reference, owner or action |
| Principal Designer liaison: The Principal Contractor liaises with the Principal Designer for the duration of the Principal Designer’s appointment. | Regulation 13(5). Mark N/A once the Principal Designer’s appointment has ended. | ☐ | ☐ | Reference, owner or action |
| Relevant information shared: Relevant construction-phase information is shared with the Principal Designer where it affects planning, management, monitoring or coordination of the pre-construction phase. | Regulation 13(5). For example, site findings that affect design work still in progress. | ☐ | ☐ | Reference, owner or action |
| Design changes and developing information: Relevant design changes and information arising during construction are communicated to the people who need them. | Including the contractors affected and, where relevant, the Principal Designer. | ☐ | ☐ | Reference, owner or action |
| Comprehensible and timely information: Information and instruction required under CDM are comprehensible and provided as soon as practicable. | Regulation 8(6). Consider language, format and timing. | ☐ | ☐ | Reference, owner or action |

# 6. Health and Safety File information

Regulation 12(7) to (10). The Principal Designer prepares the file; the file’s contents belong in the file itself, not in this checklist.

| Requirement / check | What to confirm | Done | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| Relevant information to the Principal Designer: The Principal Contractor provides the Principal Designer with information in its possession that is relevant to the Health and Safety File. | Regulation 12(7), for inclusion in the file. | ☐ Reviewed / current | ☐ | Reference, owner or action |
| Information from contractors: Arrangements exist to obtain relevant Health and Safety File information from contractors as work progresses. | A practical arrangement that supports Regulation 12(7), rather than a separate statutory duty. | ☐ Reviewed / current | ☐ | Reference, owner or action |
| If the Principal Designer’s appointment ends early: If the Health and Safety File is passed to the Principal Contractor because the Principal Designer’s appointment ends before project completion, arrangements are in place to review, update and revise it as required. | Regulation 12(8) and (9). Mark N/A while the Principal Designer remains appointed. | ☐ | ☐ | Reference, owner or action |
| Handover where the Principal Contractor holds the file: Where there is no Principal Designer at the end of the project and the Principal Contractor holds the file, arrangements are in place to pass it to the client. | Regulation 12(10). Mark N/A if the Principal Designer will hand the file over. | ☐ | ☐ | Reference, owner or action |

| Health and Safety File / information reference | Reference, and how information is passed on |
| --- | --- |

The Aptoris Health and Safety File Template can be used for the file itself.

# 7. Site induction

Regulation 13(4)(a). Tick when the arrangement is reviewed and current.

| Requirement / check | What to confirm | Reviewed / current | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| Suitable induction: A suitable site-specific induction is provided. | Regulation 13(4)(a). For workers and, where relevant, visitors. | ☐ | ☐ | Reference, owner or action |
| Proportionate content: Induction content is relevant and proportionate to the person’s work or visit. | For example, a visitor induction may be shorter than a worker induction. | ☐ | ☐ | Reference, owner or action |
| Changes: Arrangements exist to communicate significant changes where existing induction information becomes outdated. | For example, briefings when the site layout, access routes or risks change. | ☐ | ☐ | Reference, owner or action |

| Site induction arrangements reference | Induction pack or record reference |
| --- | --- |

Use the separate Aptoris Site Induction Checklist where a detailed induction record is required.

# 8. Site access and welfare

Regulation 13(4)(b) and (c). This is a review of the duty, not a site security audit or welfare inspection.

| Requirement / check | What to confirm | Done | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| Unauthorised access: Necessary steps are in place to prevent unauthorised access to the construction site. | Regulation 13(4)(b). Proportionate to the site, its surroundings and who may try to enter. | ☐ Reviewed / current | ☐ | Reference, owner or action |
| Access arrangements remain suitable: Access-control arrangements are reviewed where site boundaries, phases or interfaces change. | For example, a new phase, a handover of part of the site or a change to public routes. | ☐ Reviewed / current | ☐ | Reference, owner or action |
| Welfare from the start: Suitable Schedule 2 welfare facilities are provided for the construction phase. | Regulation 13(4)(c). Available from the start of the construction phase. | ☐ | ☐ | Reference, owner or action |
| Welfare maintained: Welfare facilities are maintained throughout the construction phase. | Kept clean, supplied and sufficient as worker numbers change. | ☐ Reviewed / current | ☐ | Reference, owner or action |

# 9. Worker consultation and engagement

Regulation 14. These duties are ongoing: tick when the arrangement is reviewed and current.

| Requirement / check | What to confirm | Reviewed / current | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| Cooperation arrangements: Arrangements enable the Principal Contractor and workers to cooperate effectively in developing, promoting and checking health, safety and welfare measures. | Regulation 14(a). The arrangements are made and maintained. | ☐ | ☐ | Reference, owner or action |
| Consultation: Workers or their representatives are consulted in good time on relevant project matters that may affect their health, safety or welfare where they have not already been similarly consulted by their employer. | Regulation 14(b). | ☐ | ☐ | Reference, owner or action |
| Feedback and effectiveness: Arrangements enable workers to raise concerns and contribute to checking whether measures are effective. | For example, briefings, a worker forum or a reporting route. | ☐ | ☐ | Reference, owner or action |
| Access to relevant information: Workers or their representatives can inspect and take copies of relevant health, safety and welfare information held by, or required to be provided to, the Principal Contractor, subject to the statutory exceptions. | Regulation 14(c). Check the exceptions listed in the Regulation before withholding information. | ☐ | ☐ | Reference, owner or action |

# 10. Where the Principal Contractor also carries out construction work

The Principal Contractor is also a contractor. Where it carries out construction work itself or controls workers, the relevant contractor duties under Regulation 15 apply in addition to its Principal Contractor duties.

A short reminder, not a full list of Regulation 15:

•	its own work is planned, managed and monitored;

•	its workers have, or are obtaining, the necessary skills, knowledge, training and experience;

•	appropriate supervision, instructions and information are provided;

•	relevant risk information is provided to its workers;

•	other contractor duties relevant to its own work are being managed.

| Requirement / check | What to confirm | Reviewed / current | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| Own contractor duties: Contractor duties relevant to the Principal Contractor’s own construction work and workers are being managed. | Regulation 15. Mark N/A if the Principal Contractor carries out no construction work and controls no workers. | ☐ | ☐ | Reference, owner or action |

# 11. Keep arrangements current

These checks are prompted by change, not by a fixed timetable: CDM 2015 does not set a review frequency. Tick when reviewed and current.

| Requirement / check | What to confirm | Reviewed / current | N/A | Evidence / reference / action |
| --- | --- | --- | --- | --- |
| New contractors: New contractors are considered before they start work. | Induction, coordination and relevant Construction Phase Plan information. | ☐ | ☐ | Reference, owner or action |
| Sequencing changes: Significant sequencing or programme changes are considered for their health and safety effects. | Including effects on other contractors and on time allowed. | ☐ | ☐ | Reference, owner or action |
| Design changes: Design changes are communicated to the contractors and others affected. | Links to Section 5. | ☐ | ☐ | Reference, owner or action |
| Construction Phase Plan: The Construction Phase Plan is updated where changes require it. | Links to Section 1. | ☐ | ☐ | Reference, owner or action |
| Site arrangements: Site access, welfare, induction and coordination arrangements are reviewed where the project changes. | Links to Sections 3, 7 and 8. | ☐ | ☐ | Reference, owner or action |
| Material issues: Material health and safety issues are followed up. | Record how issues are tracked to a conclusion. | ☐ | ☐ | Reference, owner or action |
| Information passed on: Relevant information is passed to the Principal Designer, client and contractors. | Links to Sections 5 and 6. | ☐ | ☐ | Reference, owner or action |

PRACTICAL FINAL REVIEW — NOT A STATUTORY CHECKLIST

# 12. Practical final review

| Done | Review item | Note |
| --- | --- | --- |
| ☐ | Principal Contractor appointment / project applicability confirmed. |  |
| ☐ | Construction Phase Plan is in place before site set-up. |  |
| ☐ | Construction Phase Plan remains current and project-specific. |  |
| ☐ | Construction phase is being planned, managed and monitored. |  |
| ☐ | Health and safety matters are being coordinated. |  |
| ☐ | General principles of prevention are being considered. |  |
| ☐ | Contractor cooperation arrangements are in place. |  |
| ☐ | Relevant capability checks are proportionate and recorded. |  |
| ☐ | Client / Principal Designer liaison arrangements are functioning. |  |
| ☐ | Relevant Health and Safety File information is being provided. |  |
| ☐ | Suitable site induction arrangements are in place. |  |
| ☐ | Unauthorised access arrangements are in place. |  |
| ☐ | Welfare facilities are provided and maintained. |  |
| ☐ | Worker consultation / engagement arrangements are in place. |  |
| ☐ | Relevant changes are being incorporated into project arrangements. |  |
| ☐ | Outstanding actions are recorded. |  |

# Outstanding Principal Contractor actions

Record genuine gaps found while completing this checklist.

| Ref | Action | Responsible person / organisation | Target date | Complete |
| --- | --- | --- | --- | --- |
| PC01 | Action | Name / organisation | DD/MM/YYYY | ☐ |
| PC02 |  |  |  | ☐ |
| PC03 |  |  |  | ☐ |
| PC04 |  |  |  | ☐ |
| PC05 |  |  |  | ☐ |

To add rows, place the cursor in the last row and use Insert Row, then add the next reference.

# Completed / reviewed by

| Detail | Completed by | Reviewed / updated by, where required by project arrangements |
| --- | --- | --- |
| Name | Name | Name |
| Role | Role | Role |
| Organisation | Organisation | Organisation |
| Date | DD/MM/YYYY | DD/MM/YYYY |

CDM 2015 does not require this checklist itself to be formally signed off. Complete the reviewed / updated column only where the project arrangements require it.